Cryostream Temperature Change Protocol

On the computer of the side you are working (the monitor is in front of the each port) open the program called Cryostream (there is an icon on the desktop).

In the pull down menu called Channel Setup choose Channel Parameters. The Channel Setup screen will be displayed

Make sure the channel number selected is channel 1, if not use the arrow to select.

Highlight the number in the set point box and type in the value in centigrade you want the stream to be at and then hit enter.

The temperature should start to change as viewed in the process box below the set point. You can also check the control box display below the detector.